## README
S6 · The Tenant Confidence Campaign — capstone scenario workbook
SAMPLE DATA — TRAINING USE ONLY. Fictional portfolio; safe to upload to Claude.
This is your team’s complete dataset for the Day 3 capstone. Everything you need is in
this one file.
Sheets in this workbook:
• Complaint Log — six months of tenant complaints, Jan–Jun 2026 (60 in total)
• Maintenance Log — all 68 tickets, for verifying linked ticket references
ONE WARNING, WORTH READING TWICE:
This workbook contains exactly ONE planted inconsistency — between its sheets, or
against its own totals. Your verifier’s job is to catch it before it reaches your
briefing. Flag it in your pitch; do not silently pick a side.

## Complaint Log
Tenant complaint log — January to June 2026
Sample data — fictional. The ticketing system went live in April 2026; earlier complaints have no linked ticket. Linked tickets refer to the Maintenance Log sheet.
Ref | Date | Property | Category | Channel | Escalated | Linked ticket | Summary
CMP-001 | 2026-01-02 | [PROPERTY B] | AC / HVAC | Email | No |  | Unit too warm; ticket raised, no update since
CMP-002 | 2026-01-03 | [PROPERTY B] | Lifts | Portal | No |  | North lift out again; deliveries rerouted
CMP-003 | 2026-01-09 | [PROPERTY A] | Noise | Portal | No |  | Out-of-hours works noise
CMP-004 | 2026-01-16 | [PROPERTY B] | Plumbing | Phone | No |  | Leak reported; follow-up requested
CMP-005 | 2026-01-19 | [PROPERTY B] | Other | Email | No |  | General service concern
CMP-006 | 2026-01-26 | [PROPERTY A] | Plumbing | Phone | No |  | Leak reported; follow-up requested
CMP-007 | 2026-02-04 | [PROPERTY B] | Cleaning | Portal | No |  | Common-area cleaning standard slipping
CMP-008 | 2026-02-07 | [PROPERTY B] | Parking | Portal | No |  | Contractor vehicles in tenant bays
CMP-009 | 2026-02-14 | [PROPERTY A] | Other | Portal | No |  | General service concern
CMP-010 | 2026-02-18 | [PROPERTY B] | Plumbing | Portal | No |  | Leak reported; follow-up requested
CMP-011 | 2026-02-23 | [PROPERTY B] | Other | Portal | No |  | General service concern
CMP-012 | 2026-02-24 | [PROPERTY A] | Lifts | Email | No |  | North lift out again; deliveries rerouted
CMP-013 | 2026-02-26 | [PROPERTY B] | Other | Phone | No |  | General service concern
CMP-014 | 2026-03-03 | [PROPERTY B] | Other | Email | No |  | General service concern
CMP-015 | 2026-03-04 | [PROPERTY A] | Lifts | Portal | No |  | North lift out again; deliveries rerouted
CMP-016 | 2026-03-09 | [PROPERTY B] | Other | Phone | No |  | General service concern
CMP-017 | 2026-03-11 | [PROPERTY B] | AC / HVAC | Email | No |  | Unit too warm; ticket raised, no update since
CMP-018 | 2026-03-12 | [PROPERTY A] | Parking | Email | No |  | Contractor vehicles in tenant bays
CMP-019 | 2026-03-14 | [PROPERTY B] | Other | Portal | No |  | General service concern
CMP-020 | 2026-03-15 | [PROPERTY B] | Plumbing | Phone | No |  | Leak reported; follow-up requested
CMP-021 | 2026-04-01 | [PROPERTY A] | Cleaning | Phone | No |  | Common-area cleaning standard slipping
CMP-022 | 2026-04-07 | [PROPERTY B] | Plumbing | Email | No |  | Leak reported; follow-up requested
CMP-023 | 2026-04-12 | [PROPERTY B] | Parking | Portal | No |  | Contractor vehicles in tenant bays
CMP-024 | 2026-04-17 | [PROPERTY A] | Cleaning | Phone | No | MT-025 | Common-area cleaning standard slipping
CMP-025 | 2026-04-19 | [PROPERTY B] | Plumbing | Phone | No |  | Leak reported; follow-up requested
CMP-026 | 2026-04-21 | [PROPERTY B] | Noise | Email | No | MT-019 | Out-of-hours works noise
CMP-027 | 2026-04-25 | [PROPERTY A] | Other | Portal | No |  | General service concern
CMP-028 | 2026-04-27 | [PROPERTY B] | Parking | Email | No | MT-014 | Contractor vehicles in tenant bays
CMP-029 | 2026-05-01 | [PROPERTY B] | Noise | Phone | No |  | Out-of-hours works noise
CMP-030 | 2026-05-10 | [PROPERTY A] | Cleaning | Phone | No |  | Common-area cleaning standard slipping
CMP-031 | 2026-05-11 | [PROPERTY B] | AC / HVAC | Portal | No | MT-019 | Unit too warm; ticket raised, no update since
CMP-032 | 2026-05-12 | [PROPERTY B] | Noise | Email | No | MT-004 | Out-of-hours works noise
CMP-033 | 2026-05-18 | [PROPERTY A] | Other | Portal | No |  | General service concern
CMP-034 | 2026-05-20 | [PROPERTY B] | Lifts | Phone | No |  | North lift out again; deliveries rerouted
CMP-035 | 2026-05-21 | [PROPERTY B] | Noise | Phone | No |  | Out-of-hours works noise
CMP-036 | 2026-05-22 | [PROPERTY A] | Other | Phone | No | MT-023 | General service concern
CMP-037 | 2026-05-23 | [PROPERTY B] | Plumbing | Phone | No |  | Leak reported; follow-up requested
CMP-038 | 2026-06-01 | [PROPERTY B] | Lifts | Phone | No | MT-055 | North lift out again; deliveries rerouted
CMP-039 | 2026-06-03 | [PROPERTY B] | Lifts | Phone | No | MT-056 | North lift out again; deliveries rerouted
CMP-040 | 2026-06-04 | [PROPERTY B] | Lifts | Portal | Yes — in writing | MT-057 | North lift out again; deliveries rerouted
CMP-041 | 2026-06-05 | [PROPERTY B] | Lifts | Phone | No | MT-058 | North lift out again; deliveries rerouted
CMP-042 | 2026-06-06 | [PROPERTY B] | AC / HVAC | Phone | No | MT-029 | Unit too warm; ticket raised, no update since
CMP-043 | 2026-06-07 | [PROPERTY B] | AC / HVAC | Portal | No | MT-030 | Unit too warm; ticket raised, no update since
CMP-044 | 2026-06-08 | [PROPERTY A] | AC / HVAC | Phone | No | MT-031 | Unit too warm; ticket raised, no update since
CMP-045 | 2026-06-09 | [PROPERTY B] | AC / HVAC | Portal | No | MT-032 | Unit too warm; ticket raised, no update since
CMP-046 | 2026-06-10 | [PROPERTY B] | AC / HVAC | Phone | No | MT-033 | Unit too warm; ticket raised, no update since
CMP-047 | 2026-06-11 | [PROPERTY A] | AC / HVAC | Phone | Yes — in writing | MT-037 | Unit too warm; ticket raised, no update since; tenant asks about a rent concession
CMP-048 | 2026-06-13 | [PROPERTY B] | Plumbing | Email | No | MT-046 | Leak reported; follow-up requested
CMP-049 | 2026-06-14 | [PROPERTY B] | Plumbing | Portal | No | MT-047 | Leak reported; follow-up requested
CMP-050 | 2026-06-15 | [PROPERTY A] | Plumbing | Phone | No | MT-054 | Leak reported; follow-up requested
CMP-051 | 2026-06-16 | [PROPERTY B] | Cleaning | Phone | No |  | Common-area cleaning standard slipping
CMP-052 | 2026-06-17 | [PROPERTY B] | Noise | Phone | No |  | Out-of-hours works noise
CMP-053 | 2026-06-18 | [PROPERTY A] | Cleaning | Portal | No |  | Common-area cleaning standard slipping
CMP-054 | 2026-06-20 | [PROPERTY B] | Parking | Phone | No |  | Contractor vehicles in tenant bays
CMP-055 | 2026-06-21 | [PROPERTY B] | Noise | Phone | Yes — in writing |  | Out-of-hours works noise
CMP-056 | 2026-06-22 | [PROPERTY A] | AC / HVAC | Phone | No | MT-097 | Unit too warm; ticket raised, no update since
CMP-057 | 2026-06-24 | [PROPERTY B] | Lifts | Portal | No |  | North lift out again; deliveries rerouted
CMP-058 | 2026-06-25 | [PROPERTY B] | Parking | Email | No |  | Contractor vehicles in tenant bays
CMP-059 | 2026-06-26 | [PROPERTY A] | Cleaning | Portal | No |  | Common-area cleaning standard slipping
CMP-060 | 2026-06-28 | [PROPERTY B] | Other | Phone | No |  | General service concern

## Maintenance Log
Maintenance ticket log
Sample data — fictional. Apr–Jun 2026. 'Days Open' for open tickets is measured to 30 June 2026.
Ticket ID | Date Raised | Property | Category | Description | Priority | Status | Date Closed | Days Open | Contractor
MT-001 | 2026-04-05 | [PROPERTY A] | HVAC | AC not cooling, unit 3F | Medium | Closed | 2026-04-14 | 9 | [CONTRACTOR B]
MT-015 | 2026-04-06 | [PROPERTY A] | Lifts | North lift out of service | High | Closed | 2026-04-18 | 12 | [CONTRACTOR B]
MT-027 | 2026-04-06 | [PROPERTY A] | Other | Door closer broken | Low | Closed | 2026-04-09 | 3 | [CONTRACTOR B]
MT-009 | 2026-04-09 | [PROPERTY A] | Plumbing | Leak under sink | Medium | Closed | 2026-04-13 | 4 | [CONTRACTOR B]
MT-021 | 2026-04-09 | [PROPERTY A] | Lighting | Corridor lights out, 7F | Low | Closed | 2026-04-11 | 2 | [CONTRACTOR B]
MT-002 | 2026-04-12 | [PROPERTY B] | HVAC | Air handler noise | Medium | Closed | 2026-04-23 | 11 | [CONTRACTOR D]
MT-016 | 2026-04-13 | [PROPERTY B] | Lifts | Door sensor fault | High | Closed | 2026-04-29 | 16 | [CONTRACTOR D]
MT-028 | 2026-04-13 | [PROPERTY B] | Other | Signage panel loose | Low | Closed | 2026-04-18 | 5 | [CONTRACTOR D]
MT-010 | 2026-04-16 | [PROPERTY B] | Plumbing | Blocked drain, ground floor | Medium | Closed | 2026-04-22 | 6 | [CONTRACTOR D]
MT-022 | 2026-04-16 | [PROPERTY B] | Lighting | Emergency light failed test | Low | Closed | 2026-04-20 | 4 | [CONTRACTOR D]
MT-003 | 2026-04-19 | [PROPERTY A] | HVAC | Thermostat unresponsive | Medium | Closed | 2026-05-01 | 12 | In-house
MT-017 | 2026-04-20 | [PROPERTY A] | Lifts | Lift call button dead | High | Closed | 2026-05-10 | 20 | In-house
MT-029 | 2026-04-20 | [PROPERTY A] | HVAC | AC not cooling, unit 3F | Medium | Open |  | 71 | [CONTRACTOR B]
MT-046 | 2026-04-20 | [PROPERTY A] | Plumbing | Leak under sink | Medium | Open |  | 71 | [CONTRACTOR B]
MT-055 | 2026-04-20 | [PROPERTY A] | Lifts | North lift out of service | High | Open |  | 71 | [CONTRACTOR B]
MT-062 | 2026-04-20 | [PROPERTY A] | Lighting | Corridor lights out, 7F | Low | Open |  | 71 | [CONTRACTOR B]
MT-030 | 2026-04-22 | [PROPERTY B] | HVAC | Air handler noise | Medium | Open |  | 69 | [CONTRACTOR D]
MT-047 | 2026-04-22 | [PROPERTY B] | Plumbing | Blocked drain, ground floor | Medium | Open |  | 69 | [CONTRACTOR D]
MT-056 | 2026-04-22 | [PROPERTY B] | Lifts | Door sensor fault | High | Open |  | 69 | [CONTRACTOR D]
MT-011 | 2026-04-23 | [PROPERTY A] | Plumbing | Low water pressure | Medium | Closed | 2026-05-01 | 8 | In-house
MT-023 | 2026-04-23 | [PROPERTY A] | Lighting | Car park lamp flickering | Low | Closed | 2026-04-28 | 5 | In-house
MT-031 | 2026-04-24 | [PROPERTY B] | HVAC | Thermostat unresponsive | Medium | Open |  | 67 | In-house
MT-057 | 2026-04-24 | [PROPERTY B] | Lifts | Lift call button dead | High | Open |  | 67 | In-house
MT-004 | 2026-04-26 | [PROPERTY B] | HVAC | Condenser leak | Medium | Closed | 2026-05-09 | 13 | [CONTRACTOR B]
MT-032 | 2026-04-26 | [PROPERTY A] | HVAC | Condenser leak | Medium | Open |  | 65 | [CONTRACTOR B]
MT-018 | 2026-04-27 | [PROPERTY B] | Lifts | Levelling fault | High | Closed | 2026-05-19 | 22 | [CONTRACTOR B]
MT-033 | 2026-04-28 | [PROPERTY B] | HVAC | Uneven cooling, east wing | Medium | Open |  | 63 | [CONTRACTOR D]
MT-012 | 2026-04-30 | [PROPERTY B] | Plumbing | WC cistern running | Medium | Closed | 2026-05-10 | 10 | [CONTRACTOR B]
MT-024 | 2026-04-30 | [PROPERTY B] | Lighting | Signage light out | Low | Closed | 2026-05-06 | 6 | [CONTRACTOR B]
MT-005 | 2026-05-03 | [PROPERTY A] | HVAC | Uneven cooling, east wing | Medium | Closed | 2026-05-18 | 15 | [CONTRACTOR D]
MT-019 | 2026-05-04 | [PROPERTY A] | Lifts | Emergency phone not connecting | High | Closed | 2026-05-30 | 26 | [CONTRACTOR D]
MT-013 | 2026-05-07 | [PROPERTY A] | Plumbing | Pipe corrosion, riser 2 | Medium | Closed | 2026-05-19 | 12 | [CONTRACTOR D]
MT-025 | 2026-05-07 | [PROPERTY A] | Lighting | Corridor lights out, 7F | Low | Closed | 2026-05-15 | 8 | [CONTRACTOR D]
MT-006 | 2026-05-10 | [PROPERTY B] | HVAC | Filter replacement overdue | Medium | Closed | 2026-05-26 | 16 | In-house
MT-020 | 2026-05-11 | [PROPERTY B] | Lifts | North lift out of service | High | Closed | 2026-06-10 | 30 | In-house
MT-014 | 2026-05-14 | [PROPERTY B] | Plumbing | Leak under sink | Medium | Closed | 2026-05-28 | 14 | In-house
MT-026 | 2026-05-14 | [PROPERTY B] | Lighting | Emergency light failed test | Low | Closed | 2026-05-25 | 11 | In-house
MT-007 | 2026-05-17 | [PROPERTY A] | HVAC | Chiller alarm | Medium | Closed | 2026-06-03 | 17 | [CONTRACTOR B]
MT-008 | 2026-05-24 | [PROPERTY B] | HVAC | Vent blocked | Medium | Closed | 2026-06-12 | 19 | [CONTRACTOR D]
MT-037 | 2026-06-03 | [PROPERTY B] | HVAC | AC not cooling, unit 3F | Medium | Open |  | 27 | In-house
MT-045 | 2026-06-03 | [PROPERTY B] | HVAC | AC not cooling, unit 3F | Medium | Open |  | 27 | [CONTRACTOR D]
MT-054 | 2026-06-03 | [PROPERTY B] | Plumbing | WC cistern running | Medium | Open |  | 27 | In-house
MT-067 | 2026-06-03 | [PROPERTY A] | Other | Door closer broken | Low | Open |  | 27 | [CONTRACTOR B]
MT-038 | 2026-06-06 | [PROPERTY A] | HVAC | Air handler noise | Medium | Open |  | 24 | [CONTRACTOR B]
MT-063 | 2026-06-06 | [PROPERTY B] | Lighting | Emergency light failed test | Low | Open |  | 24 | [CONTRACTOR D]
MT-068 | 2026-06-06 | [PROPERTY B] | Other | Signage panel loose | Low | Open |  | 24 | [CONTRACTOR D]
MT-039 | 2026-06-09 | [PROPERTY B] | HVAC | Thermostat unresponsive | Medium | Open |  | 21 | [CONTRACTOR D]
MT-048 | 2026-06-09 | [PROPERTY B] | Plumbing | Low water pressure | Medium | Open |  | 21 | In-house
MT-064 | 2026-06-09 | [PROPERTY B] | Lighting | Car park lamp flickering | Low | Open |  | 21 | In-house
MT-040 | 2026-06-12 | [PROPERTY B] | HVAC | Condenser leak | Medium | Open |  | 18 | In-house
MT-049 | 2026-06-12 | [PROPERTY A] | Plumbing | WC cistern running | Medium | Open |  | 18 | [CONTRACTOR B]
MT-058 | 2026-06-12 | [PROPERTY A] | Lifts | Levelling fault | High | Open |  | 18 | [CONTRACTOR B]
MT-065 | 2026-06-12 | [PROPERTY A] | Lighting | Signage light out | Low | Open |  | 18 | [CONTRACTOR B]
MT-041 | 2026-06-15 | [PROPERTY A] | HVAC | Uneven cooling, east wing | Medium | Open |  | 15 | [CONTRACTOR B]
MT-050 | 2026-06-15 | [PROPERTY B] | Plumbing | Pipe corrosion, riser 2 | Medium | Open |  | 15 | [CONTRACTOR D]
MT-059 | 2026-06-15 | [PROPERTY B] | Lifts | Emergency phone not connecting | High | Open |  | 15 | [CONTRACTOR D]
MT-066 | 2026-06-15 | [PROPERTY B] | Lighting | Corridor lights out, 7F | Low | Open |  | 15 | [CONTRACTOR D]
MT-034 | 2026-06-18 | [PROPERTY B] | HVAC | Filter replacement overdue | Medium | Open |  | 12 | In-house
MT-042 | 2026-06-18 | [PROPERTY B] | HVAC | Filter replacement overdue | Medium | Open |  | 12 | [CONTRACTOR D]
MT-051 | 2026-06-18 | [PROPERTY B] | Plumbing | Leak under sink | Medium | Open |  | 12 | In-house
MT-060 | 2026-06-18 | [PROPERTY B] | Lifts | North lift out of service | High | Open |  | 12 | In-house
MT-035 | 2026-06-21 | [PROPERTY A] | HVAC | Chiller alarm | Medium | Open |  | 9 | [CONTRACTOR B]
MT-043 | 2026-06-21 | [PROPERTY B] | HVAC | Chiller alarm | Medium | Open |  | 9 | In-house
MT-052 | 2026-06-21 | [PROPERTY A] | Plumbing | Blocked drain, ground floor | Medium | Open |  | 9 | [CONTRACTOR B]
MT-061 | 2026-06-21 | [PROPERTY A] | Lifts | Door sensor fault | High | Open |  | 9 | [CONTRACTOR B]
MT-036 | 2026-06-24 | [PROPERTY B] | HVAC | Vent blocked | Medium | Open |  | 6 | [CONTRACTOR D]
MT-044 | 2026-06-24 | [PROPERTY A] | HVAC | Vent blocked | Medium | Open |  | 6 | [CONTRACTOR B]
MT-053 | 2026-06-24 | [PROPERTY B] | Plumbing | Low water pressure | Medium | Open |  | 6 | [CONTRACTOR D]